## Readme
Preparing your assays for scheduled MRM or PRM with Biognosys iRT Kit is a simple two step process : 1. Assay calibration: define retention time (RT) of your assays in relation to the iRT Kit. 2. Assay measurement: recalibrate retention times of your assay to your current chromatographic setting. A) Assay calibration Get the iRT for each assay 1. Record retention time of target peptide for each assay, these are the assay RTs for each assay. Go to our iRT calculator: https://shop.biognosys.ch/irt-kit-single (under Content&Use tab) 2. Record retention times of Standard Mixture in the same run. This are the iRT Kit coordinates for all assays measured in this run. 3. Go to our iRT calculator. - Enter the iRT Kit coordinates. - Enter original assay RTs. You can for example enter the sequence or some code for your assay (assay id) together with the retention times. 4. Check the linear regression, correlation should be close to 0.99. The assay RTs are now converted into iRT. Store the iRT together with your assay ids. B) Assay measurement - scheduled MRM or PRM Get predicted retention times for each assay 1. Record retention times of Standard Mixture under the conditions you intend to use for your assay measurements. Ideally run the iRT Kit in the sample matrix. This are the iRT Kit coordinates for your set-up. 2. Go to our iRT calculator. - Enter the iRT Kit coordinates. - Enter assay iRTs. You can for example enter the sequence or some code for your assay (assay id) together with the iRT values. 3. Check the linear regression, correlation should be close to 0.99. The assay iRTs are now converted into real retention time. Set up your scheduled MRM or PRM method with these retention time. Alternatively you may use the sheet RT->iRT->RT to calculate iRT from RT and vice versa

## iRT Kit transitions
Q1 monoisotopic | Q1 average | Q3 | relative intensity (approximate, TSQ-Vantage) | rank | precursor charge | fragment type | fragment charge | fragment number | nominal sequence | sequence id | transition id
487.257 | 487.526 | 860.423 | 100 | 1 | 2 | y | 1 | 8 | LGGNEQVTR | iRT Kit_a | LGGNEQVTR.y8.1+
487.257 | 487.526 | 503.294 | 53.09 | 2 | 2 | y | 1 | 4 | LGGNEQVTR | iRT Kit_a | LGGNEQVTR.y4.1+
487.257 | 487.526 | 803.401 | 50.25 | 3 | 2 | y | 1 | 7 | LGGNEQVTR | iRT Kit_a | LGGNEQVTR.y7.1+
644.822 | 645.186 | 800.452 | 100 | 1 | 2 | y | 1 | 8 | GAGSSEPVTGLDAK | iRT Kit_b | GAGSSEPVTGLDAK.y8.1+
644.822 | 645.186 | 604.331 | 16.98 | 2 | 2 | y | 1 | 6 | GAGSSEPVTGLDAK | iRT Kit_b | GAGSSEPVTGLDAK.y6.1+
644.822 | 645.186 | 1016.53 | 16.45 | 3 | 2 | y | 1 | 10 | GAGSSEPVTGLDAK | iRT Kit_b | GAGSSEPVTGLDAK.y10.1+
683.827 | 684.22 | 819.389 | 100 | 1 | 2 | b | 1 | 8 | VEATFGVDESNAK | iRT Kit_c | VEATFGVDESNAK.b8.1+
683.827 | 684.22 | 966.453 | 55.67 | 2 | 2 | y | 1 | 9 | VEATFGVDESNAK | iRT Kit_c | VEATFGVDESNAK.y9.1+
683.827 | 684.22 | 663.295 | 46.11 | 3 | 2 | y | 1 | 6 | VEATFGVDESNAK | iRT Kit_c | VEATFGVDESNAK.y6.1+
547.297 | 547.62 | 817.442 | 100 | 1 | 2 | y | 1 | 8 | YILAGVENSK | iRT Kit_d | YILAGVENSK.y8.1+
547.297 | 547.62 | 633.321 | 54.13 | 2 | 2 | y | 1 | 6 | YILAGVENSK | iRT Kit_d | YILAGVENSK.y6.1+
547.297 | 547.62 | 704.358 | 51.66 | 3 | 2 | y | 1 | 7 | YILAGVENSK | iRT Kit_d | YILAGVENSK.y7.1+
669.838 | 670.237 | 928.416 | 100 | 1 | 2 | y | 1 | 8 | TPVISGGPYEYR | iRT Kit_e | TPVISGGPYEYR.y8.1+
669.838 | 670.237 | 1041.5 | 48.28 | 2 | 2 | y | 1 | 9 | TPVISGGPYEYR | iRT Kit_e | TPVISGGPYEYR.y9.1+
669.838 | 670.237 | 841.384 | 38.76 | 3 | 2 | y | 1 | 7 | TPVISGGPYEYR | iRT Kit_e | TPVISGGPYEYR.y7.1+
683.853 | 684.264 | 956.448 | 100 | 1 | 2 | y | 1 | 8 | TPVITGAPYEYR | iRT Kit_f | TPVITGAPYEYR.y8.1+
683.853 | 684.264 | 855.4 | 59.24 | 2 | 2 | y | 1 | 7 | TPVITGAPYEYR | iRT Kit_f | TPVITGAPYEYR.y7.1+
683.853 | 684.264 | 1069.53 | 43.79 | 3 | 2 | y | 1 | 9 | TPVITGAPYEYR | iRT Kit_f | TPVITGAPYEYR.y9.1+
699.338 | 699.749 | 855.436 | 100 | 1 | 2 | y | 1 | 7 | DGLDAASYYAPVR | iRT Kit_g | DGLDAASYYAPVR.y7.1+
699.338 | 699.749 | 926.474 | 67.87 | 2 | 2 | y | 1 | 8 | DGLDAASYYAPVR | iRT Kit_g | DGLDAASYYAPVR.y8.1+
699.338 | 699.749 | 605.341 | 57.63 | 3 | 2 | y | 1 | 5 | DGLDAASYYAPVR | iRT Kit_g | DGLDAASYYAPVR.y5.1+
726.835 | 727.265 | 1066.48 | 100 | 1 | 2 | y | 1 | 9 | ADVTPADFSEWSK | iRT Kit_h | ADVTPADFSEWSK.y9.1+
726.835 | 727.265 | 533.746 | 64.75 | 2 | 2 | y | 2 | 9 | ADVTPADFSEWSK | iRT Kit_h | ADVTPADFSEWSK.y9.2+
726.835 | 727.265 | 584.27 | 22.85 | 3 | 2 | y | 2 | 10 | ADVTPADFSEWSK | iRT Kit_h | ADVTPADFSEWSK.y10.2+
622.853 | 623.225 | 598.368 | 100 | 1 | 2 | y | 1 | 6 | GTFIIDPGGVIR | iRT Kit_i | GTFIIDPGGVIR.y6.1+
622.853 | 623.225 | 713.395 | 29.64 | 2 | 2 | y | 1 | 7 | GTFIIDPGGVIR | iRT Kit_i | GTFIIDPGGVIR.y7.1+
622.853 | 623.225 | 826.479 | 28.12 | 3 | 2 | y | 1 | 8 | GTFIIDPGGVIR | iRT Kit_i | GTFIIDPGGVIR.y8.1+
636.869 | 637.251 | 626.399 | 100 | 1 | 2 | y | 1 | 6 | GTFIIDPAAVIR | iRT Kit_k | GTFIIDPAAVIR.y6.1+
636.869 | 637.251 | 854.51 | 65.57 | 2 | 2 | y | 1 | 8 | GTFIIDPAAVIR | iRT Kit_k | GTFIIDPAAVIR.y8.1+
636.869 | 637.251 | 741.426 | 60.43 | 3 | 2 | y | 1 | 7 | GTFIIDPAAVIR | iRT Kit_k | GTFIIDPAAVIR.y7.1+
776.929 | 777.412 | 904.489 | 100 | 1 | 2 | y | 1 | 9 | LFLQFGAQGSPFLK | iRT Kit_l | LFLQFGAQGSPFLK.y9.1+
776.929 | 777.412 | 1051.56 | 90.62 | 2 | 2 | y | 1 | 10 | LFLQFGAQGSPFLK | iRT Kit_l | LFLQFGAQGSPFLK.y10.1+
776.929 | 777.412 | 504.319 | 80.39 | 3 | 2 | y | 1 | 4 | LFLQFGAQGSPFLK | iRT Kit_l | LFLQFGAQGSPFLK.y4.1+

## RT->iRT->RT
standard | Q1 | iRT | measured RT [min]
LGGNEQVTR | 487.257 | -24.9161
GAGSSEPVTGLDAK | 644.823 | 0.00094033
VEATFGVDESNAK | 683.828 | 12.3894
YILAGVENSK | 547.298 | 19.7879
TPVISGGPYEYR | 669.838 | 28.7146
TPVITGAPYEYR | 683.854 | 33.3812
DGLDAASYYAPVR | 699.339 | 42.2639
ADVTPADFSEWSK | 726.836 | 54.621
GTFIIDPGGVIR | 622.854 | 70.5187
GTFIIDPAAVIR | 636.869 | 87.2332
LFLQFGAQGSPFLK | 776.93 | 100.0028
correlation |  | no values entered
slope iRT->RT |  | #DIV/0!
intercept iRT->RT |  | #DIV/0!
slope RT->iRT |  | #DIV/0!
intercept RT->iRT |  | #DIV/0!
Note on C1: Biognosys: This is the old retention time that was measured together with your assays before
Note on D1: Biognosys: Example values -replace with measured values. Leave blank cell where Tr could not be determined